## PCR_malaria_Richards
TaKaRa PCR Amplification Kit | [8 empty] | Materials from Kit
Amplification of bird sex marker w/ primers 2550F & 2718R (Fridolfsson & Ellegren 1999 J Av Bio)
vs. 0.9 |  | 2017-12-04
Originally compiled by Nathan Brouwer brouwern@gmail.com from Fallon et al (2003) &
TaKaRa PCR kit manual.
Purpose
Amplify markers from avian malaria DNA samples using the 621 and 983 which amplify a cytochrome b gene from malaria | [8 empty] | Materials not from kit
0.2 mL PCR tubes
Primers were described by Richards et al 2003 and cited as being developed by Fallon and Rickleffs (unpublished) | [8 empty] | Sterile purified water
Citation
Richard, FA et al 2002. A comparative analysis of PCR-based detection methods for avian malaria. Journal of Parisitology 88:819-822.
See also
Fallon, SM, RE Rickles, L swanson and E Berminham. Detecting avian malaria: An imporved polymeraise chain reaction diagnostic J. Parasitology 89: 1044-1047
This paper describes a similar primer set (292F and and 631R )
Prep work
Sterlie (autoclaved) diH2O
Sterile (autoclaved) pipette tips - primarily 0.5 uL size (smallest size)
Sterile (autoclaved) PCR tubes
Agarose gel (2%) for running out PCR products
Stain for gel (eg SYBR Green)
Diluted Primers
Step |  | Details
1 |  | Dilution of TaKara PCR reagents
Stock reagents from kits need to be diluted to the specifications of the specific PCR protocol.
for the 621 and and 983 primers of Richards et al ("R")
The original reaction is describe for 25 ul; 10ul reaction only listed for reference.
Reaction vol (uL)
|  | Reagent (conc in orig units) | Stock conc. | R conc. | Units | 10 | 25
|  | TaKara Taq (5 U/uL) | 5 | 0.625 | U | 1.25 | 3.125 |  |  | C1*V2 = C2*V2
|  | dNTP mix (2.5 mM) | 2500 | 400 | uM | 1.6 | 4 |  |  | V2 = (C2*V2)/C1
10x PCR Buffer w/o MgCl2
Tri HCl & KCl |  | Tris HCL (100 mM; pH 8.3) | 100 | 10 | mM | 1 | 2.5 | *10 mM Tris & 50 mM KCl achieved through
|  | KCl (500 mM) | 500 | 50 | mM |  |  | addition of 10x PCR Buffer
MgCl2 |  | MgCl2 (25 mM, sep. stock) | 25 | 3 | mM | 1.2 | 3
|  | Primer 1 (10 uM working stock) | 10 | 0.2 | uM | 0.4 | 1
|  | Primer 2 | 10 | 0.2 | uM | 0.4 | 1
|  |  |  | Total vol reagents |  | 5.85 | 14.625
|  |  |  | Remaining vol |  | 4.15 | 10.375
2 |  | Determine Concentration of genomic template DNA and H2O to add
New England Biolabs (NEB) recommends 1 ng - 1000 ng of genomic DNA per 50 uL, which equals 1-20 ng/uL of template DNA
The amount of your original DNA to add will depend on the final reaction volume (eg, 10 uL, 25 uL) and the concentration of the DNA
sample. When DNA is highly concentrated H2O can be added to acheved the final reaction vol. Online many people recommend 25 ng / 50 uL
|  |  | total DNA (ng) |  | conc (ng/uL)
|  | total PCR reaction vol | min | max | min | max
|  | 10 | 10 | 200 | 1 | 20
|  | 25 | 25 | 500 | 1 | 20
|  | 50 | 50 | 1000 | 1 | 20 | *NEB recommendation
|  |  | sample | [6 empty] | Notes:
|  |  | ng/uL | 10 | 25 |  |  |  |  | *Taq can be diluted with water, eg use 1 uL of a mix of 0.5 uL Taq diluted in 0.5 uL H20
|  |  | Max DNA vol | 4.15 | 10.375 |  |  |  |  | # Reagents need to be well mixed by vortexing before adding Taq.
|  | Avian genomic DNA | 2.5 | 1.0375 | 1.0375 |  |  |  |  | ## After adding Taq mix gently.
|  |  | 5 | 2.075 | 2.075
|  |  | 7.5 | 3.1125 | 3.1125
|  |  | 10 | 4.15 | 4.15
3 |  | Add PCR reagents and genomic DNA to achieve a final reaction volume desired
Since DNA samples may be diulte you will potentially add the maximum amount of DNA possible (eg ~7.5uL of your DNA
sample for a 10 uL volume, ~18.75 uL for a 25 uL volume)
4 |  | Place PCR tubes in thermo cycler
5 |  | Run the following PCR conditions as detailed in Richard et al (pag 830, right column, 2nd full paragraph)
|  | Temp | Time (s) |  |  | Cycles
|  | 94 | 90 | denature |  | 1
|  | 50 | 40 | annealling |  | 1
|  | 72 | 70 | extension
|  | 94 | 30 | denature |  | 35
|  | 50 | 40 | annealling
|  | 72 | 70 | extension
|  | 94 | 30 | denature |  | 1
|  | 50 | 40 | annealling
|  | 72 | 180 | extension
1
|  | Min protocol time: | 5350 | sec | 1.4861 | hours
B. Electrophoreis of PCR fragments
1 |  | Remove 5-10 uL from each PCR reaction
Richards used 2% agarose gel
Visualized a 341-bp fragment

## PCR_sex_2550Fv2718R
TaKaRa PCR Amplification Kit | [7 empty] | Materials from Kit
Amplification of bird sex marker w/ primers 2550F & 2718R (Fridolfsson & Ellegren 1999 J Av Bio)
vs. 0.9 | 2017-11-13
Originally compiled by Nathan Brouwer brouwern@gmail.com from Fridolfsson & Ellegren (1999) &
TaKaRa PCR kit manula
Purpose
Amplify sex-linked markers from avian DNA samples using the 2550F and 2718R primers developed | [7 empty] | Materials not from kit
by Fridolfsson and Ellgren. These primers amplify sequences on the avian sex chromosoes (W and Z) | [7 empty] | 0.2 mL PCR tubes
Females display one band on a gel (CHD1W) and males 2 (CHD1W and CHD1Z). | [7 empty] | Sterile purified water | Step 6
Citation
Fridolfsson, AK & H Ellegren. 1999. A simple and universal method for molecular sexing of non-
ratite birds. Journal of Avian Biology 30:116-121.
See also
Dubiec, A and M Zagalska-Neubauer. 2006. Molecular techniquees for sex identificaiton in birds.
2006. Biological Letters 43:3-12.
Prep work
Sterlie (autoclaved) diH2O
Sterile (autoclaved) pipette tips - primarily 0.5 uL size (smallest size)
Sterile (autoclaved) PCR tubes
Agarose gel (2?%) for running out PCR product
Stain for gel (eg SYBR Green)
Diluted Primers
Step | Details |  |  |  | Minutes | pg
1 | Dilution of TaKara PCR reagents
Stock reagents from kit need to be diluted to the specifications of the PCR protocol.
for the 2550F and 2781R primers of Fridolfson and Ellegren (F&E)
This protocol is frequently done in a 10 uL volume.
Reaction vol (uL)
| Reagent (conc in orig units) | Stock conc. | F&E conc. | Units | 10 | 25
| TaKara Taq (5 U/uL) | 5 | 0.05 | U | 0.1 | 0.25 |  |  |  | C1*V2 = C2*V2
| dNTP mix (2.5 mM) | 2500 | 200 | uM | 0.8 | 2 |  |  |  | V2 = (C2*V2)/C1
10x PCR Buffer w/o MgCl2
Tri HCl & KCl | Tris HCL (100 mM; pH 8.3) | 100 | 10 | mM | 1 | 2.5 | *10 mM Tris & 50 mM KCl achieved through
| KCl (500 mM) | 500 | 50 | mM |  |  | addition of 10x PCR Buffer
MgCl2 | MgCl2 (25 mM, sep. stock) | 25 | 1.75 | mM | 0.7 | 1.75
| Primer 1 (10 uM working stock) | 10 | 2 pmol tot | pM | 0.2 | 0.5
| Primer 2 | 10 | 2 pmol tot | pM | 0.2 | 0.5
|  |  | Total vol reagents |  | 2.6 | 6.5
|  |  | Remaining vol |  | 7.4 | 18.5
2 | Determine Concentration of genomic template DNA and H2O to add
New England Biolabs (NEB) recommends 1 ng - 1000 ng of genomic DNA per 50 uL, which equals 1-20 ng/uL of template DNA
The amount of your original DNA to add will depend on the final reaction volume (eg, 10 uL, 25 uL) and the concentration of the DNA
sample. When DNA is highly concentrated H2O can be added to acheved the final reaction vole. Online many people recommend 25 ng / 50 uL
|  | total DNA (ng) |  | conc (ng/uL)
| total PCR reaction vol | min | max | min | max
| 10 | 10 | 200 | 1 | 20
| 25 | 25 | 500 | 1 | 20
| 50 | 50 | 1000 | 1 | 20 | *NEB recommendation
|  | sample | [7 empty] | Notes:
|  | ng/uL | 10 | 25 | [5 empty] | *Taq can be diluted with water, eg use 1 uL of a mix of 0.5 uL Taq diluted in 0.5 uL H20
|  | Max DNA vol | 7.4 | 18.5 | [5 empty] | # Reagents need to be well mixed by vortexing before adding Taq.
| Avian genomic DNA | 2.5 | 1.85 | 1.85 | [5 empty] | ## After adding Taq mix gently.
|  | 5 | 3.7 | 3.7
|  | 7.5 | 5.55 | 5.55
|  | 10 | 7.4 | 7.4
3 | Add PCR reagents and genomic DNA to achieve a final reaction volume desired
Since DNA samples may be diulte you will potentially add the maximum amount of DNA possible (eg 7.4 uL of your DNA
sample for a 10 uL volume, 18.5 uL for a 25 uL volume)
4 | Place PCR tubes in thermo cycler
5 | Run the following PCR conditions as detailed in Fridolfson & Ellgren
Reaction 1: Primer 1 and 2
| Temp | Time (m) |  |  | Cycles
| 94 | 2
| 94 | 0.5 | denature |  | 10
| 60 (step down to 50) | 0.5 | annealling | *
| 72 | 0.55 | extension
| 94 | 0.5 | denature |  | 35
| 50 (constant) | 0.5 | annealling | *
| 72 | 0.55 | extension
| 72 | 5 |  |  | 1
| Min protocol time: | 76.75 | min | 1.2792 | hours
B. Electrophoreis of PCR fragments
1 | Remove 5-10 uL from each PCR reaction
Fridolfson & Ellegren used 3% agarose gel
CHD1W is 450 bp
CHD1Z is 600 bp

## PCR_lambda_phage
TaKaRa | [6 empty] | Materials from Kit
PCR Amplification Kit
Amplification of lambda virus control DNA
vs. 0.9 |  | 2017-11-09
Originally compiled by Nathan Brouwer brouwern@gmail.com from TaKaRa manual
Purpose
Carry out test PCR protocol using viral DNA provided with kit. This is an opprotunity | [6 empty] | Materials not from kit
to practice the PCR process and test any reagents that are old. | [6 empty] | 0.2 mL PCR tubes
Protocol developed from TaKaRa PCR Amplification Kit manaul cat #R011 | [6 empty] | Sterile purified water | Step 6
#K0721, #K0722 download Nov 2017.
Prep work
Sterile (autoclaved) pipette tips - primarily 0.5 uL size (smallest size)
Agarose gel (0.x%) for running out PCR product
Stain for gel (eg SYBR Green)
Step |  | Details |  |  | Minutes | pg
A. PCR Amplifcation of Viral Control DNA
1 |  | Add PCR reagents to yield a total volume of 50 uL |  |  |  | 6
| a | Reaction 1: Primer 1 and Primer 2
This will amplify a fragment that is 6012 bp
|  | Reagent | Vol (ulL) | Notes
|  | 10 x PCR Buffer (Mg2+ plus) | 5 | #Combine all of these reagents, vortex for 2s, then centrifuge briefly ¦ ## After adding Taq, mix gently.
|  | dNTP Mixture | 4
|  | Control Primer 1 | 0.5
|  | Control Primer 2 | 0.5
|  | TaKaRa Taq | 0.25 | *Many pipettes don't go this low. See comment below.
|  | Control Template | 0.5 | (Viral DNA the primers will attach to)
|  | Sterile Purified water | 39.25 | **This can be adjust as needed if template amount is different than 0.5
|  | Total | 50
| b | Reaction 2: Primer 1 and Primer 3
This will amplify a fragment that is 500 bp
As above except use Control Primer 3 instead of 2
2 |  | Place PCR tubes in thermo cycler
Notes:
*Taq can be dilusted with water, eg use 1 uL of a mix of 0.5 uL Taq diluted in 0.5 uL H20
# Reagents need to be well mixed by vortexing before adding Taq.
## After adding Taq mix gently.
3 |  | Run the following PCR conditions
Note: this protocol doesn't have an initial denaturation the precedes the main
cycling loop
Reaction 1: Primer 1 and 2
|  | Temp | Time (m) |  | Cycles
(no intial denaturaion)
|  | 94 | 1 | (denaturation) | 30
|  | 68 | 4 | (annealing and extension)
|  | 72 | 5 |  | 1
|  | Loop duration: | 5 | Min protocol time: | 2.5833 | hrs
Reaction 1: Primer 1 and 3
|  | Temp | Time (m) |  | Cycles
(no intial denaturaion)
|  | 94 | 0.5 | (denaturation) | 25
|  | 55 | 0.5 | (annealing)
|  | 72 | 0.5 | extension
|  | 72 | 5 |  | 1
|  | Loop duration: | 1.5 | Min protocol time: | 0.70833 | hrs
B. Electrophoreis of PCR fragments
1 |  | Remove 5-10 uL from each PCR reaction

## genomic_DNA_extraction
Thermo Scientific |  |  |  | Materials from Kit
GeneJET Genomic DNA Kit
DNA purficiation from blood samples on Whatman FTA card
vs. 0.9 |  | 2017-11-02
Originally written by Nathan Brouwer brouwern@gmail.com
Purpose
Isolated DNA from whole avian blood spotted on Whatman FTA cards |  |  |  | Materials not from kit
Protocol developed from GeneJET Genomic DNA Kit manual |  |  |  | 50% ethanol | Step 6
#K0721, #K0722 download Nov 2017.
Prep work
Hot water bath at 56 degrees C
Sterile pipette tips
50% ethanol (for step 6)
Ethanol added to Wash Buffers I and II (only needs to be done once! For each kit)
Step |  | Details | Minutes
1 |  | Use razor blade to cut out an approximately 1 mm x 1 mm piece from the middle of an FTA card
2 | a | Place piece of FTA card into 1.5 mL tube
| b | Add 180 uL of Digestion Solution from kit
| c | Add 20 uL of Proteinase K Solution from kit
| d | Mix tube
3 |  | Incubate sample in water bath at 56 degrees C
Make sure tube does not drop below level of water
Incubate can extend over night
(Should ideally be in a shaking water bath)
(if incubating for short duratinos should probably shake by hand occassionally)
4 | a | Remove tube from water bath. Record in lab notebook how long you incubated tube
| b | Add 20 uL RNase A solution fromkit
| c | Mix tube by vortexing
| d | Incubate for 10 min at room temperature | 10
5 | a | Add 200 uL of Lysis solution from kit
| b | Vortex for 15s to obtain a homogenous mixture (everything should be well mixed)
6 | a | Add 400 uL of 50% ethanol (not in kit)
| b | Mix sample by vortexing.
7 | a | Transfer prepared lysate from 1.5 mL tube to GeneJET Genomic DNA purification column that has been inserted into a collection tube.
| b | Centrifuge column for 1 m at 6000 x g
| c | Discard collection tube contain the flow-through soluion
| d | Place column into a new 2 mL collection tube from kit
NOTE: keep bag with columns closed tightly when not in use
8 | a | Add 500 uL of Wash Buffer I (with ethanolg added!)
| b | Centrifuge for 1 min at 8000 x g | 1
| c | Discard flow through
| d | Place column back into the collection tube
9 | a | Add 500 ul of Wash Buffer II (with ethanol added!) to column
| b | Centrifuge for 3 min at max speed (>12000 x g) | 3
| c | Optional: respin for 1 min if extra fluild is seen. | 1
| d | Discard collection tube and flow through
| e | Trasnfer column to a sterile 1.5 mL tube (not included in hit)
10 | a | Add 200 uL elution buffer to the center of the column
| b | Incubate for 2 min at room temperature | 2
| c | Centrifuge for 1 min at 8000 x g | 1
Note: for maximum yieled repate step 10 with and additional 200 uL of elution buffer
Note: if a higher concentration of DNA is required eultion buffer can be resued to 50-100 uL but this will reduce overall yield
11 | a | Discard column
| b | Use purified DNA for next step in study OR store at -20 C

## xxxx
Thermo Scientific |  |  |  | Materials from Kit
GeneJET Genomic DNA Kit
DNA purficiation from blood samples on Whatman FTA card
vs. 0.9 |  | 2017-11-02
Originally written by Nathan Brouwer brouwern@gmail.com
Purpose
Isolated DNA from whole avian blood spotted on Whatman FTA cards |  |  |  | Materials not from kit
Protocol developed from GeneJET Genomic DNA Kit manual |  |  |  | 50% ethanol | Step 6
#K0721, #K0722 download Nov 2017.
Prep work
Hot water bath at 56 degrees C
Sterile pipette tips
50% ethanol (for step 6)
Ethanol added to Wash Buffers I and II (only needs to be done once! For each kit)
Step |  | Details | Minutes
1 |  | Use razor blade to cut out an approximately 1 mm x 1 mm piece from the middle of an FTA card
2 | a | Place piece of FTA card into 1.5 mL tube
| b | Add 180 uL of Digestion Solution from kit
| c | Add 20 uL of Proteinase K Solution from kit
| d | Mix tube
3 |  | Incubate sample in water bath at 56 degrees C
Make sure tube does not drop below level of water
Incubate can extend over night
(Should ideally be in a shaking water bath)
(if incubating for short duratinos should probably shake by hand occassionally)
4 | a | Remove tube from water bath. Record in lab notebook how long you incubated tube
| b | Add 20 uL RNase A solution fromkit
| c | Mix tube by vortexing
| d | Incubate for 10 min at room temperature | 10
5 | a | Add 200 uL of Lysis solution from kit
| b | Vortex for 15s to obtain a homogenous mixture (everything should be well mixed)
6 | a | Add 400 uL of 50% ethanol (not in kit)
| b | Mix sample by vortexing.
7 | a | Transfer prepared lysate from 1.5 mL tube to GeneJET Genomic DNA purification column that has been inserted into a collection tube.
| b | Centrifuge column for 1 m at 6000 x g
| c | Discard collection tube contain the flow-through soluion
| d | Place column into a new 2 mL collection tube from kit
NOTE: keep bag with columns closed tightly when not in use
8 | a | Add 500 uL of Wash Buffer I (with ethanolg added!)
| b | Centrifuge for 1 min at 8000 x g | 1
| c | Discard flow through
| d | Place column back into the collection tube
9 | a | Add 500 ul of Wash Buffer II (with ethanol added!) to column
| b | Centrifuge for 3 min at max speed (>12000 x g) | 3
| c | Optional: respin for 1 min if extra fluild is seen. | 1
| d | Discard collection tube and flow through
| e | Trasnfer column to a sterile 1.5 mL tube (not included in hit)
10 | a | Add 200 uL elution buffer to the center of the column
| b | Incubate for 2 min at room temperature | 2
| c | Centrifuge for 1 min at 8000 x g | 1
Note: for maximum yieled repate step 10 with and additional 200 uL of elution buffer
Note: if a higher concentration of DNA is required eultion buffer can be resued to 50-100 uL but this will reduce overall yield
11 | a | Discard column
| b | Use purified DNA for next step in study OR store at -20 C

## Sheet3
100 | uM
10 uL 100 uM + 90 uL of water
yileds
10